# MERV-13 Filter Equipment List

All equipment listed herein shall be provided with MERV-13 air filters. No substitutions shall be permitted unless approved in writing by the District.

The Contractor shall verify all equipment, filter sizes, and quantities.

| UNIT / EQUIPMENT | AREA / LOCATION | TAG / SERIAL |
| --- | --- | --- |
| AIR HANDLER #5 | MWDOC / MECH RM | FBOU131200175 |
| AIR HANDLER #1 | ADMIN BLDG | FBOU160300491 |
| AIR HANDLER #2 | ADMIN BLDG | FBOU160300523 |
| AIR HANDLER #3 | ADMIN BLDG | FBOU120801415 |
| AIR HANDLER #4 | ADMIN BLDG | FBOU160300377 |
| COMPUTER RM | COMPUTER RM | 2206E15899 |
| CEILING HVAC UNIT | — | — |
| FAN COIL UNIT | AREA | — |
| FAN COIL #1 | RECEPTIONIST AREA | 3VM00270-06 |
| HEAT PUMP HP-1/137 | GUARD SHACK | 137-H-010 |
| AHU-1 | — | 0803-3357-1 |
| AHU-2 | — | 0803-3357-2 |
| HP-1/160 | WARHS OFFICE | 160-H-050/100 |
| HP-2/160 | CALIBRATION SHOP | 160-H-050/100 |
| HP-3/160 | WARHS OFFICE | 160-H-060/100 |
| LOCKER RM A/C | LOCKER RM | 5185F21611 |
| HVAC-1 | DOWNSTAIRS WEST | L9711-34664 |
| HVAC-2 | UPSTAIRS WEST | L9711-34659 |
| HVAC-3 | UPSTAIRS S.E. | 1487C50273 |
| HVAC-4 | UPSTAIRS N.E. | 4286C68834 |
| HVAC-5 | LUNCH RM | 41022650501 |
| HVAC-6 | MICROBIOLOGY | 2617C27402 |
| HP-3/210W | MF W OFFICE | 210-H-030/140 |
| AC-2/210W | MF W ELEC. OFFICE | 210-H-030/140 |
| AC-2A/210W | MF W ELEC. OFFICE | 210-H-030/140 |
| HP-1/210E | MF E OFFICE | 210-H-030/140 |
| HP-2/210E | MF E OFFICE | 210-H-030/140 |
| AC-1/210E | MF E ELEC. OFFICE | 210-H-030/140 |
| AC-1A/210E | MF E ELEC. OFFICE | 210-H-030/140 |
| AC-3/210E | MF E FILES RM | 210-H-040/140 |
| AC-4/210W | MF WEST ELECTRICAL | 210SW-AC-4 |
| AC-4A/210W | MF WEST ELECTRICAL | 210SW-AC-4A |
| HVAC UNIT | VFD RM | E33142464D |
| WALL MNT HVAC #1 | MAINT. SHOP | A90C01717 |
| WALL MNT HVAC #2 | I&E SHOP | A90C01655 |
| AC-1/540 | RO ELEC | 540-H-020/040 |
| AC-2/540 | RO ELEC | 540-H-020/040 |
| AC-3/540 | RO ELEC | 540-H-020/040 |
| AC-4/540 | RO ELEC | 540-H-020/040 |
| HP-1/540 | RO OFFICE | 540-H-040 |
| HP-2/540 | RO OFFICE | 540-H-040 |
| AC-5/540 | RO CNTRL RM | 540-H-040 |